## Slide 1: STM32_ADS1299_LayoutGuide
Yumin

## Slide 2: PCB TOP
30mm
J102
U201
U101
U301
VBAT
STM32WB5MMG
LSM6DSMTR
U302
ADS1299-4PAGR
J401
OSC301
KC2016K2.04800C1GE00
U102
BQ25185
36mm
J101
USB TYPE C
DGND
T_SWCLK
TP221
T_SWO
TP223
TP218
JTRST
TP219
TP220
T_SWDIO
NRST
TP222
U104
J301
U103

## Slide 3: PCB BOTTOM
30mm
36mm

## Slide 4: D105,D106,D107 ESD401
NOTES:
1. All linear dimensions are in millimeters. Any dimensions in parenthesis are for reference only. Dimensioning and tolerancing
per ASME Y14.5M
2. This drawing is subject to change without notice.
3. For more information, see Texas Instruments literature number SLUA271 (www.ti.com/lit/slua271).
4. Vias are optional depending on application, refer to device data sheet. If any vias are implemented, refer to their locations shown on this view.
It is recommended that vias under paste be filled, plugged or tented.

## Slide 5: J101 TYPE-CF-W-16-S-R-004

## Slide 6: J102 SIP\2P-2MM

## Slide 7: J301 SIP\4P-2.54MM

## Slide 8: J401 SIP\9P-2.54MM

## Slide 9: OSC301 KC2016K2.04800C1GE00
Dimensions(Unit: mm)

## Slide 10: U101 BQ25185
NOTES:
1. All linear dimensions are in millimeters. Any dimensions in parenthesis are for reference only. Dimensioning and tolerancingper ASME Y14.5M.
2. This drawing is subject to change without notice.
3. The package thermal pad must be soldered to the printed circuit board for optimal thermal and mechanical performance.
4. This package is designed to be soldered to a thermal pad on the board. For more information, see Texas Instruments literaturenumber SLUA271 (www.ti.com/lit/slua271).
5. Vias are optional depending on application, refer to device data sheet. If any vias are implemented, refer to their locations shown on this view. It is recommended that vias under paste be filled, plugged or tented.

## Slide 11: U102、U103、U104 TPS7A2033PDQNR

## Slide 12: U201 STM32WB5MMGH6

## Slide 13: U301 LSM6DSMTR

## Slide 14: U302 ADS1299-4PAGR